## Engineering Log (hidden)
Engineering Log
Version | Date | Engineer | QC Engineer | Notes
3.3.1 | 2020-07-15 | - | - | Original Sodexo Version
3.4 | 2020-07-20 | Andrew Gilmore | Ryan Novosedliak | Ice Machines - switched sizes on energy efficient batch types for p10-12 remote condensind ice machines (did not affect calcs, just to make table accurate)
Fryers - Updated Energy efficient model Indle kw and EFF to match with 2019 mid atlantic TRM. Changed CF to 1, since no CF noted in 2019 midatlantic trm
Griddles - Changed CF to 1, since no CF noted in 2019 midatlantic trm
Hot Food Holding Cabinets - Changed CF to 1, since no CF noted in 2019 midatlantic trm
Commercial refrigerator - changed values for efficient cases for PY9-PY12 to match those of PY8, since no updated values for efficient cases given in 2016 TRM
Commercial freezer- changed values for efficient cases for PY9-PY12 to match those of PY8, since no updated values for efficient cases given in 2016 TRM
Updated Data Export to function correctly
3.5 | 2020-10-22 | Ryan Novosedliak | Ryan Novosedliak | Updated Eficient calculations for PY9-PY12 for refrigerators and freezers to match Energy Star Standards as noted by ADM.
4.0 | 2021-05-28 | Sarah Speck |  | Added Pre-Rinse Sprayers to calculator
Updated all existing measure to Phase IV TRM
Updated ES Vending Machines to match ES current qualifications; not in Phase IV TRM
5 | 2022-05-31 | Ashley Faircloth | Sarah Speck | Updated all kW, kWh, and incentive to round appropriately. Loader mappings

## Instructions
| INSTRUCTIONS | Worksheet Version | 5
Energy Solutions for Business Program
Food Service Incentive Program applicants must submit a completed, electronic copy of the Food Service Equipment Worksheet along with an online application. The most up-to-date version of this calculator tool can be found on the Program website: www.energysavePA-business.com. Use the calculator index to find the type of equipment being installed. Click on the equipment type label to bring up the appropriate calculator worksheet. The Project Summary tab displays the calculated incentive as well as the estimated annual energy and demand savings. Only new, ENERGY STAR®-certified equipment is eligible for incentives through the Food Services incentive program. For more information regarding the Food Service incentive program, we encourage you to please visit energysavePA-business.com. If you have questions regarding this calculator, please call 844-323-6399 or send us an email to energysavePA@franklinenergy.com.
Calculator Key
Yellow Cells | This is a read only or calculated field
White Cells | Equipment input fields
Gray Cells | Cell not applicable to the particular piece of proposed equipment
Red Cells | Indicates a required field was left blank or the proposed equipment does not qualify for incentives
Calculator Tabs
Project Summary: The Project Summary tab shows the estimated incentive, demand and energy savings. Information such as the customer name, building name and the facility address should be entered on the Project Summary worksheet. Clicking on the title of each equipment type on the Project Summary tab will bring up the appropriate calculator worksheet. Each type of Appliances and Electronics measure has its own calculation worksheet. Complete one row for every unique project, and complete all white cells in each row to estimate the annual energy savings and incentive. The Project Summary tab shows the estimated incentive, demand and energy savings.

## Project Summary
Project Estimated Summary
Food Service Equipment Incentive Program
Customer Name
Building Name
Building Address
Project ID
External ID
Invoice Date
Total Estimated Annual Energy Savings (kWh) | 0
Total Demand Reduction (kW) | 0
Total Calculated Project Incentive | 0
Equipment Type (click on titles below to jump to the associated calculator) | Quantity | Demand Savings (kW) | Energy Savings (kWh) | Incentive
Commercial Reach-in Refrigerators | 0 | 0 | 0 | 0
Commercial Reach-in Freezers | 0 | 0 | 0 | 0
Ice Machines | 0 | 0 | 0 | 0
Refrigerated Case Night Covers | 0 | 0 | 0 | 0
Strip Curtains for Walk-in Freezers & Coolers | 0 | 0 | 0 | 0
Anti-Sweat Heater Controls | 0 | 0 | 0 | 0
Vending Machine Controls | 0 | 0 | 0 | 0
Vending Machines | 0 | 0 | 0 | 0
Combination Ovens | 0 | 0 | 0 | 0
Convection Ovens | 0 | 0 | 0 | 0
Steam Cookers | 0 | 0 | 0 | 0
Fryers | 0 | 0 | 0 | 0
Griddles | 0 | 0 | 0 | 0
Pre-Rinse Sprayers | 0 | 0 | 0 | 0
Hot Food Holding Cabinet | 0 | 0 | 0 | 0
Franklin Energy 844-323-6399 - energysavePA@franklinenergy.com
[5 empty] | Measure # | Reporting Measure Name | Demand Savings (kW) | Energy Savings (kWh) | Quantity | Total Incentive | Retrofit ID | 1
[5 empty] | 1 | [6 empty] | 2
[5 empty] | 2 | [6 empty] | 3
[5 empty] | 3 | [6 empty] | 4
[5 empty] | 4 | [6 empty] | 5
[5 empty] | 5 | [6 empty] | 6
[5 empty] | 6 | [6 empty] | 7
[5 empty] | 7 | [6 empty] | 8
[5 empty] | 8 | [6 empty] | 9
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 10
[5 empty] | Measure # | [5 empty] | Retrofit ID | 11
[5 empty] | 9 | [6 empty] | 12
[5 empty] | 10 | [6 empty] | 13
[5 empty] | 11 | [6 empty] | 14
[5 empty] | 12 | [6 empty] | 15
[5 empty] | 13 | [6 empty] | 16
[5 empty] | 14 | [6 empty] | 17
[5 empty] | 15 | [6 empty] | 18
[5 empty] | 16 | [6 empty] | 19
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 20
[5 empty] | Measure # | [5 empty] | Retrofit ID | 21
[5 empty] | 17 | [6 empty] | 22
[5 empty] | 18 | [6 empty] | 23
[5 empty] | 19 | [6 empty] | 24
[5 empty] | 20 | [6 empty] | 25
[5 empty] | 21 | [6 empty] | 26
[5 empty] | 22 | [6 empty] | 27
[5 empty] | 23 | [6 empty] | 28
[5 empty] | 24 | [6 empty] | 29
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 30
[5 empty] | Measure # | [5 empty] | Retrofit ID | 31
[5 empty] | 25 | [6 empty] | 32
[5 empty] | 26 | [6 empty] | 33
[5 empty] | 27 | [6 empty] | 34
[5 empty] | 28 | [6 empty] | 35
[5 empty] | 29 | [6 empty] | 36
[5 empty] | 30 | [6 empty] | 37
[5 empty] | 31 | [6 empty] | 38
[5 empty] | 32 | [6 empty] | 39
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 40
[5 empty] | Measure # | [5 empty] | Retrofit ID | 41
[5 empty] | 33 | [6 empty] | 42
[5 empty] | 34 | [6 empty] | 43
[5 empty] | 35 | [6 empty] | 44
[5 empty] | 36 | [6 empty] | 45
[5 empty] | 37 | [6 empty] | 46
[5 empty] | 38 | [6 empty] | 47
[5 empty] | 39 | [6 empty] | 48
[5 empty] | 40 | [6 empty] | 49
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 50
[5 empty] | Measure # | [5 empty] | Retrofit ID | 51
[5 empty] | 41 | [6 empty] | 52
[5 empty] | 42 | [6 empty] | 53
[5 empty] | 43 | [6 empty] | 54
[5 empty] | 44 | [6 empty] | 55
[5 empty] | 45 | [6 empty] | 56
[5 empty] | 46 | [6 empty] | 57
[5 empty] | 47 | [6 empty] | 58
[5 empty] | 48 | [6 empty] | 59
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 60
[5 empty] | Measure # | [5 empty] | Retrofit ID | 61
[5 empty] | 49 | [6 empty] | 62
[5 empty] | 50 | [6 empty] | 63
[5 empty] | 51 | [6 empty] | 64
[5 empty] | 52 | [6 empty] | 65
[5 empty] | 53 | [6 empty] | 66
[5 empty] | 54 | [6 empty] | 67
[5 empty] | 55 | [6 empty] | 68
[5 empty] | 56 | [6 empty] | 69
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 70
[5 empty] | Measure # | [5 empty] | Retrofit ID | 71
[5 empty] | 57 | [6 empty] | 72
[5 empty] | 58 | [6 empty] | 73
[5 empty] | 59 | [6 empty] | 74
[5 empty] | 60 | [6 empty] | 75
[5 empty] | 61 | [6 empty] | 76
[5 empty] | 62 | [6 empty] | 77
[5 empty] | 63 | [6 empty] | 78
[5 empty] | 64 | [6 empty] | 79
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 80
[5 empty] | Measure # | [5 empty] | Retrofit ID | 81
[5 empty] | 65 | [6 empty] | 82
[5 empty] | 66 | [6 empty] | 83
[5 empty] | 67 | [6 empty] | 84
[5 empty] | 68 | [6 empty] | 85
[5 empty] | 69 | [6 empty] | 86
[5 empty] | 70 | [6 empty] | 87
[5 empty] | 71 | [6 empty] | 88
[5 empty] | 72 | [6 empty] | 89
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 90
[5 empty] | Measure # | [5 empty] | Retrofit ID | 91
[5 empty] | 73 | [6 empty] | 92
[5 empty] | 74 | [6 empty] | 93
[5 empty] | 75 | [6 empty] | 94
[5 empty] | 76 | [6 empty] | 95
[5 empty] | 77 | [6 empty] | 96
[5 empty] | 78 | [6 empty] | 97
[5 empty] | 79 | [6 empty] | 98
[5 empty] | 80 | [6 empty] | 99
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 100
[5 empty] | Measure # | [5 empty] | Retrofit ID | 101
[5 empty] | 81 | [6 empty] | 102
[5 empty] | 82 | [6 empty] | 103
[5 empty] | 83 | [6 empty] | 104
[5 empty] | 84 | [6 empty] | 105
[5 empty] | 85 | [6 empty] | 106
[5 empty] | 86 | [6 empty] | 107
[5 empty] | 87 | [6 empty] | 108
[5 empty] | 88 | [6 empty] | 109
[6 empty] | Totals | 0 | 0 | 0 | 0 |  | 110
[5 empty] | Measure # | [5 empty] | Retrofit ID | 111
[5 empty] | 89 | [6 empty] | 112
90
91
92
93
94
95
96
[6 empty] | Totals | 0 | 0 | 0 | 0
[5 empty] | Measure # | [5 empty] | Retrofit ID
97
98
99
100
101
102
103
104
[6 empty] | Totals | 0 | 0 | 0 | 0
[5 empty] | Measure # | [5 empty] | Retrofit ID
105
106
107
108
109
110
111
112
[6 empty] | Totals | 0 | 0 | 0 | 0
[6 empty] | Reporting Measure Name | Measure ID
[6 empty] | Anti Sweat Heater Controls | FEPA-58
[6 empty] | Combination Ovens | FEPA-61
[6 empty] | Commercial Reach In Freezers | FEPA-52
[6 empty] | Commercial Reach In Refrigerators | FEPA-51
[6 empty] | Convection Oven | FEPA-62
[6 empty] | Fryers | FEPA-67
[6 empty] | Griddles | FEPA-68
[6 empty] | Hot Food Holding Cabinet - Full Size | FEPA-71
[6 empty] | Hot Food Holding Cabinet - Half Size | FEPA-69
[6 empty] | Hot Food Holding Cabinet - Three-Quarter Size | FEPA-70
[6 empty] | Ice Machine < 500lbs/day | FEPA-53
[6 empty] | Ice Machines > 1000 lbs/day | FEPA-55
[6 empty] | Ice Machines 501 to 1000 lbs/day | FEPA-54
[6 empty] | Refrigerated Case Covers | FEPA-56
[6 empty] | Steam Cookers - 3 Pan | FEPA-63
[6 empty] | Steam Cookers - 4 Pan | FEPA-64
[6 empty] | Steam Cookers - 5 Pan | FEPA-65
[6 empty] | Steam Cookers - 6 Pan | FEPA-66
[6 empty] | Strip Curtains | FEPA-57
[6 empty] | Vending Machine Controls | FEPA-59
[6 empty] | Vending Machines | FEPA-60
Note on B12: Leave blank if submitting this project for pre-approval.

## Commercial Refrigerators
[18 empty] | PA TRM 2021 | p 146
ENERGY STAR® Commercial Reach-In Refrigerators
Return to Project Summary |  | ENERGY STAR® refrigerators must be self-contained with vertical-closed transparent or solid doors. Residential style refrigerators are not eligible for incentives under this measure, but may be eligible under the Appliances and Electronics program. New installations and replacement projects are eligible under this measure.
Line | Measure | Installation Type | Replacement Type | New Equipment Cost (excluding labor) | New Equipment Manufacturer | New Equipment Model Number | Door Type | Refrigerator Volume Cubic Feet (ft3) | Quantity | Volume Category | kWhbase/day | kWhee/day | CF | Total kW (non coincident) | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Total Incentive | Uncapped Incentive | Navigator Measure | Does this measure qualify for a rebate?
Key |  | Install | ReplType | MeasureCost | Manufacturer | Model | Door | Vol | Quantity |  |  |  |  | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | ExternalID | MeasureQualifies
1 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
2 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
3 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
4 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
5 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
6 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
7 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
8 | Commercial Refrigerator | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000001-01-FEPA-CI | Yes
Lookup Tables
[6 empty] | Base (PY8) | [10 empty] | Efficient
| Installation Type | Replacement Type |  |  |  | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| Early Replacement | Early Replacement |  |  |  | Solid Door | 0 < V < 15 | 0.10*V + 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | Solid Door | 0 < V < 15 | 0.089*V + 1.411 | 1.411 | 1.411 | 1.411 | 1.411 | 1.411 | 1.411 | 1.411 | 1.411
| New Installation | New Equipment |  |  |  | Solid Door | 15 ≤ V < 30 | 0.10*V + 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | Solid Door | 15 ≤ V < 30 | 0.037*V + 2.200 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
[6 empty] | Solid Door | 30 ≤ V < 50 | 0.10*V + 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | Solid Door | 30 ≤ V < 50 | 0.056*V + 1.635 | 1.635 | 1.635 | 1.635 | 1.635 | 1.635 | 1.635 | 1.635 | 1.635
| Days per year |  |  |  |  | Solid Door | 50 ≤ V | 0.10*V + 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | Solid Door | 50 ≤ V | 0.060*V + 1.416 | 1.416 | 1.416 | 1.416 | 1.416 | 1.416 | 1.416 | 1.416 | 1.416
| 365 |  |  |  |  | Glass Door | 0 < V < 15 | 0.12*V + 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | Glass Door | 0 < V < 15 | 0.118*V + 1.382 | 1.382 | 1.382 | 1.382 | 1.382 | 1.382 | 1.382 | 1.382 | 1.382
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.12*V + 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | Glass Door | 15 ≤ V < 30 | 0.140*V + 1.050 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05
| Refrigerator Incentive |  |  |  |  | Glass Door | 30 ≤ V < 50 | 0.12*V + 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | Glass Door | 30 ≤ V < 50 | 0.088*V + 2.625 | 2.625 | 2.625 | 2.625 | 2.625 | 2.625 | 2.625 | 2.625 | 2.625
| 50 | Per Refrigerator |  |  |  | Glass Door | 50 ≤ V | 0.12*V + 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | Glass Door | 50 ≤ V | 0.110*V + 1.500 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
| Measure Life (years) |  |  |  |  | Base (PY9-PY12) | 2017-06-01 | [9 empty] | Efficient
| 12 |  |  |  |  | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
[6 empty] | Solid Door | 0 < V < 15 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 0 < V < 15 | 0.022*V + 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97
| PY for Calculations |  |  |  |  | Solid Door | 15 ≤ V < 30 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 15 ≤ V < 30 | 0.066*V + 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31
| PY9-PY12 |  |  |  |  | Solid Door | 30 ≤ V < 50 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 30 ≤ V < 50 | 0.04*V + 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09
[6 empty] | Solid Door | 50 ≤ V | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 50 ≤ V | 0.024*V + 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89
[6 empty] | Glass Door | 0 < V < 15 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 0 < V < 15 | 0.095*V + 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 15 ≤ V < 30 | 0.05*V + 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12
[6 empty] | Glass Door | 30 ≤ V < 50 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 30 ≤ V < 50 | 0.076*V + 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34
[6 empty] | Glass Door | 50 ≤ V | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 50 ≤ V | 0.105*V - 1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111
[6 empty] | Base (PY13-PY16) | 2021-06-01 | [9 empty] | Efficient
[6 empty] | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
[6 empty] | Solid Door | 0 < V < 15 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 0 < V < 15 | 0.022*V + 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97
[6 empty] | Solid Door | 15 ≤ V < 30 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 15 ≤ V < 30 | 0.066*V + 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31
[6 empty] | Solid Door | 30 ≤ V < 50 | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 30 ≤ V < 50 | 0.04*V + 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09 | 1.09
[6 empty] | Solid Door | 50 ≤ V | 0.05*V + 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | 1.36 | Solid Door | 50 ≤ V | 0.024*V + 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89
[6 empty] | Glass Door | 0 < V < 15 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 0 < V < 15 | 0.095*V + 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445 | 0.445
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 15 ≤ V < 30 | 0.05*V + 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12
[6 empty] | Glass Door | 30 ≤ V < 50 | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 30 ≤ V < 50 | 0.076*V + 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34
[6 empty] | Glass Door | 50 ≤ V | 0.1*V + 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | Glass Door | 50 ≤ V | 0.105*V - 1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111 | -1.111
Visit Energy Star Website

## Commercial Freezers
[18 empty] | PA TRM 2021 | p 146
ENERGY STAR® Commercial Reach-In Freezers
Return to Project Summary |  | ENERGY STAR® freezers must be self-contained with vertical-closed transparent or solid doors. Residential style freezers are not eligible for incentives under this measure, but may be eligible under the Appliances and Electronics program. New construction and replacement projects are eligible under this measure.
Line | Measure | Installation Type | Replacement Type | Total Equipment Cost (not including Labor) | New Equipment Manufacturer | New Equipment Model Number | Door Type | Freezer Volume Cubic Feet (ft3) | Quantity | Volume Category | kWhbase/day | kWhee/day | CF | Total kW (non coincident) | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Total Incentive | Uncapped Incentive | Measure ID
Key |  | Install | ReplType | MeasureCost | Manufacturer | Model | Door | Vol | Quantity |  |  |  |  | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | ExternalID
1 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
2 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
3 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
4 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
5 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
6 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
7 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
8 | Commercial Freezer | [11 empty] | 1 |  |  |  |  | 0 | CI-CO-PR-IT-RE-000002-01-FEPA-CI
Lookup Tables
[6 empty] | Base (PY8) | [10 empty] | Efficient
| Installation Type | Installation Type |  |  |  | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| Early Replacement | Early Replacement |  |  |  | Solid Door | 0 < V < 15 | 0.4*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 0 < V < 15 | 0.250*V + 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
| New Installation | New Equipment |  |  |  | Solid Door | 15 ≤ V < 30 | 0.4*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 15 ≤ V < 30 | 0.40*V - 1.00 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1
[6 empty] | Solid Door | 30 ≤ V < 50 | 0.4*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 30 ≤ V < 50 | 0.163*V + 6.125 | 6.125 | 6.125 | 6.125 | 6.125 | 6.125 | 6.125 | 6.125 | 6.125
| Days per year |  |  |  |  | Solid Door | 50 ≤ V | 0.4*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 50 ≤ V | 0.158*V + 6.333 | 6.333 | 6.333 | 6.333 | 6.333 | 6.333 | 6.333 | 6.333 | 6.333
| 365 |  |  |  |  | Glass Door | 0 < V < 15 | 0.75*V + 4.10 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | Glass Door | 0 < V < 15 | 0.607*V + 0.893 | 0.893 | 0.893 | 0.893 | 0.893 | 0.893 | 0.893 | 0.893 | 0.893
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.75*V + 4.10 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | Glass Door | 15 ≤ V < 30 | 0.733*V -1.00 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1
| Freezer Incentive |  |  |  |  | Glass Door | 30 ≤ V < 50 | 0.75*V + 4.10 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | Glass Door | 30 ≤ V < 50 | 0.250*V + 13.50 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5
| 50 | Per Freezer |  |  |  | Glass Door | 50 ≤ V | 0.75*V + 4.10 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | Glass Door | 50 ≤ V | 0.450*V + 3.50 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5
| Measure Life (years) |  |  |  |  | Base (PY9-PY12) | 2017-06-01 | [9 empty] | Efficient
| 12 |  |  |  |  | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
[6 empty] | Solid Door | 0 < V < 15 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 0 < V < 15 | 0.21*V + 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
| PY for Calculations |  |  |  |  | Solid Door | 15 ≤ V < 30 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 15 ≤ V < 30 | 0.12*V + 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248
| PY9-PY12 |  |  |  |  | Solid Door | 30 ≤ V < 50 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 30 ≤ V < 50 | 0.285*V - 2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703
[6 empty] | Solid Door | 50 ≤ V | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 50 ≤ V | 0.142*V + 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445
[6 empty] | Glass Door | 0 < V < 15 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 0 < V < 15 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 15 ≤ V < 30 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 30 ≤ V < 50 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 30 ≤ V < 50 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 50 ≤ V | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 50 ≤ V | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Base (PY13-PY16) | 2021-06-01 | [9 empty] | Efficient
[6 empty] | Cabinet Type | Volume Category | kWhbase/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Cabinet Type | Volume Category | kWhee/day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
[6 empty] | Solid Door | 0 < V < 15 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 0 < V < 15 | 0.21*V + 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
[6 empty] | Solid Door | 15 ≤ V < 30 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 15 ≤ V < 30 | 0.12*V + 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248 | 2.248
[6 empty] | Solid Door | 30 ≤ V < 50 | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 30 ≤ V < 50 | 0.285*V - 2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703 | -2.703
[6 empty] | Solid Door | 50 ≤ V | 0.22*V + 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | 1.38 | Solid Door | 50 ≤ V | 0.142*V + 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445 | 4.445
[6 empty] | Glass Door | 0 < V < 15 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 0 < V < 15 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 15 ≤ V < 30 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 15 ≤ V < 30 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 30 ≤ V < 50 | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 30 ≤ V < 50 | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
[6 empty] | Glass Door | 50 ≤ V | 0.29*V + 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | Glass Door | 50 ≤ V | 0.232*V + 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36 | 2.36
Visit Energy Star Website

## Ice Machines
[40 empty] | PA TRM 2016 |  | p 431
ENERGY STAR® Commercial Ice Machines
Return to Project Summary |  | Eligible equipment includes ENERGY STAR® ice machines that are air-cooled and produce ice continuously or in batches. New installation and replacement projects are eligible.
[12 empty] | PY8 - PY9 Calcs | [6 empty] | PY10-PY12 Base |  | PY10-PY12 Base |  | PY10-PY12 Efficient |  |  | PY13-PY16 Base |  | PY13-PY16 Base |  | PY13-PY16 Efficient
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Equipment Cost (Excluding Labor) | Equipment Type | Ice Making Style | Ice production capacity (lbs/day) | Energy Use (kWh/100 lbs of ice) | Quantity | kWhbase capacity lookup 1 | kWhbase capacity lookup 2 | kWhee capacity lookup 1 | kWhbase | kWhee | CF | SDX Measure Name | Batch Type kWhbase capacity lookup | Batch Type kWhbase | Continuous Type kWhbase capacity lookup | Continuous Type kWhbase | Batch Type kWhee capacity lookup | Batch Type kWhee | Continuous Type kWhee | Batch Type kWhbase capacity lookup | Batch Type kWhbase | Continuous Type kWhbase capacity lookup | Continuous Type kWhbase | Batch Type kWhee capacity lookup | Batch Type kWhee | Continuous Type kWhee capacity lookup | Continuous Type kWhee | kWhbase | kWhee | Total kW | Demand Savings (kW) | Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | ReplType | Manufacturer | Model | energystar | MeasureCost | EquipType | IceStyle | Prod |  | Quantity | [24 empty] | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
2 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
3 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
4 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
5 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
6 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
7 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
8 | Commercial Ice Machines | [10 empty] | ≥ 175 | ≥ 175 | N/A |  |  | 0.937 |  | CUSTOM |  | CUSTOM |  | CUSTOM |  | CUSTOM | CUSTOM |  | CUSTOM |  | CUSTOM |  |  |  | 0 | [5 empty] | 0 | Yes | CI-CO-PR-IT-RE-000006-01-FEPA-CI
PY8 - PY9
Baseline Machine - Batch Type
| PY for Calculations | [6 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Baseline energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
| PY13-PY16 | [6 empty] | Ice Making Head | < 450 | 10.26 - 0.0086*H | 10.26 | 10.26 | 10.26 | 10.26 | 10.26 | 10.26 | 10.26 | 10.26
[8 empty] | Ice Making Head | ≥ 450 | 6.89 - 0.0011*H | 6.89 | 6.89 | 6.89 | 6.89 | 6.89 | 6.89 | 6.89 | 6.89
| Ice Making Head | [6 empty] | Remote-Condensing without Remote Compressor | < 1000 | 8.85 - 0.0038*H | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85
| Remote-Condensing without Remote Compressor | [6 empty] | Remote-Condensing without Remote Compressor | ≥ 1000 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
| Remote-Condensing with Remote Compressor | [6 empty] | Remote-Condensing with Remote Compressor | < 934 | 8.85 - 0.0038*H | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85 | 8.85
| Self Contained | [6 empty] | Remote-Condensing with Remote Compressor | ≥ 934 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3
[8 empty] | Self Contained | < 175 | 18 - 0.0469*H | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
| Ice Machine Capacity (lbs/day) | Incentive | FE Reporting Name |  |  |  |  | Self Contained | ≥ 175 | 9.8 | 9.8 | 9.8 | 9.8 | 9.8 | 9.8 | 9.8 | 9.8 | 9.8
| 500 or less | 75 | Ice Machine < 500lbs/day
| 501 to 1000 | 150 | Ice Machines 501 to 1000 lbs/day |  |  |  |  | PY8 - PY9
| 1001 or greater | 200 | Ice Machines > 1000 lbs/day |  |  |  |  | Efficient Machine - Batch Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
| Installation Type | [6 empty] | Ice Making Head | 200 ≤ H ≤ 1600 | ≤ 37.72*H -0.298 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Early Replacement | [6 empty] | Remote-Condensing without Remote Compressor | 400 ≤ H ≤ 1600 | ≤ 22.95*H -0.258 + 1.00 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| New Equipment | [6 empty] | Remote-Condensing without Remote Compressor | 1600 ≤ H ≤ 4000 | ≤ -0.00011*H + 4.60 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6
[8 empty] | Remote-Condensing with Remote Compressor | 400 ≤ H ≤ 1600 | ≤ 22.95*H -0.258 + 1.00 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Measure Life | [6 empty] | Remote-Condensing with Remote Compressor | 1600 ≤ H ≤ 4000 | ≤ -0.00011*H + 4.60 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6
| 8 | [6 empty] | Self Contained | 50 ≤ H ≤ 450 | ≤ 48.66*H-0.326 + 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Machine Type | [6 empty] | PY10 - PY12 | 2018-06-01
| Batch Type | [6 empty] | Baseline Machine - Batch Type
| Continuous Type | [6 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Baseline energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 300 | 10 - 0.01233*H | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Duty Cycle | [6 empty] | Ice Making Head | 300 ≤ H < 800 | 7.05 - 0.0025*H | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05
| 0.57 | [6 empty] | Ice Making Head | 800 ≤ H < 1,500 | 5.55 - 0.00063*H | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55
[8 empty] | Ice Making Head | 1,500 ≤ H < 4,000 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61
| CF | [6 empty] | Remote-Condensing without Remote Compressor | 50 ≤ H < 1,000 | 7.97 - 0.00342*H | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97
| 0.937 | [6 empty] | Remote-Condensing without Remote Compressor | 1,000 ≤ H < 4,000 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55
[8 empty] | Remote-Condensing with Remote Compressor | H < 942 | 7.97 - 0.00342*H | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97
[8 empty] | Remote-Condensing with Remote Compressor | 942 ≤ H < 4,000 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75
[8 empty] | Self Contained | H < 110 | 14.79 - 0.0469*H | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79
[8 empty] | Self Contained | 110 ≤ H < 200 | 12.42 - 0.02533*H | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42
[8 empty] | Self Contained | 200 ≤ H < 4,000 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35
[8 empty] | PY10 - PY12 | 2018-06-01
Baseline Machine - Continuous Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 310 | 9.19 - 0.00629*H | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19
[8 empty] | Ice Making Head | 310 ≤ H < 820 | 8.23 - 0.0032*H | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23
[8 empty] | Ice Making Head | 820 ≤ H < 4,000 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61
[8 empty] | Remote-Condensing without Remote Compressor | H < 800 | 9.7 - 0.0058*H | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7
[8 empty] | Remote-Condensing without Remote Compressor | 800 ≤ H < 4,000 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06
[8 empty] | Remote-Condensing with Remote Compressor | H < 800 | 9.9 - 0.0058*H | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9
[8 empty] | Remote-Condensing with Remote Compressor | 800 ≤ H < 4,000 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26
[8 empty] | Self Contained | H < 200 | 14.22 - 0.03*H | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22
[8 empty] | Self Contained | 200 ≤ H < 700 | 9.47 - 0.00624*H | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47
[8 empty] | Self Contained | 700 ≤ H < 4,000 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
[8 empty] | PY10 - PY12 | 2018-06-01
Efficient Machine - Batch Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | 200 ≤ H ≤ 1,600 | 37.72*H-0.298 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Remote-Condensing without Remote Compressor | 400 ≤ H ≤ 1,600 | 22.95*H-0.258 + 1.00 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Remote-Condensing without Remote Compressor | 400 ≤ H ≤ 1,600 | -0.00011*H + 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6
[8 empty] | Remote-Condensing with Remote Compressor | 1,600 ≤ H ≤ 4,000 | 22.95*H-0.258 + 1.00 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Remote-Condensing with Remote Compressor | 1,600 ≤ H ≤ 4,000 | -0.00011*H + 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6 | 4.6
[8 empty] | Self Contained | 50 ≤ H ≤ 450 | 48.66*H - 0.326 + 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | PY10 - PY12 | 2018-06-01
Efficient Machine - Continuous Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | Any | 9.18*H-0.057 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Remote-Condensing without Remote Compressor | Any | 6.00*H-0.162 + 3.50 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Remote-Condensing with Remote Compressor | Any | 6.00*H-0.162 + 3.50 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | Self Contained | Any | 59.45*H-0.349 + 0.08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | PY13 - PY16 | 2021-06-01
Baseline Machine - Batch Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Baseline energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 300 | 10 - 0.01233*H | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
[8 empty] | Ice Making Head | 300 ≤ H < 800 | 7.05 - 0.0025*H | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05 | 7.05
[8 empty] | Ice Making Head | 800 ≤ H < 1,500 | 5.55 - 0.00063*H | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55 | 5.55
[8 empty] | Ice Making Head | 1,500 ≤ H < 4,000 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61 | 4.61
[8 empty] | Remote-Condensing without Remote Compressor | 50 ≤ H < 1,000 | 7.97 - 0.00342*H | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97
[8 empty] | Remote-Condensing without Remote Compressor | 1,000 ≤ H < 4,000 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55 | 4.55
[8 empty] | Remote-Condensing with Remote Compressor | H < 942 | 7.97 - 0.00342*H | 7.9461 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97 | 7.97
[8 empty] | Remote-Condensing with Remote Compressor | 942 ≤ H < 4,000 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75
[8 empty] | Self Contained | H < 110 | 14.79 - 0.0469*H | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79 | 14.79
[8 empty] | Self Contained | 110 ≤ H < 200 | 12.42 - 0.02533*H | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42 | 12.42
[8 empty] | Self Contained | 200 ≤ H < 4,000 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35
[8 empty] | PY13 - PY16 | 2021-06-01
Baseline Machine - Continuous Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 310 | 9.19 - 0.00629*H | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19 | 9.19
[8 empty] | Ice Making Head | 310 ≤ H < 820 | 8.23 - 0.0032*H | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23 | 8.23
[8 empty] | Ice Making Head | 820 ≤ H < 4,000 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61 | 5.61
[8 empty] | Remote-Condensing without Remote Compressor | H < 800 | 9.7 - 0.0058*H | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7
[8 empty] | Remote-Condensing without Remote Compressor | 800 ≤ H < 4,000 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06 | 5.06
[8 empty] | Remote-Condensing with Remote Compressor | H < 800 | 9.9 - 0.0058*H | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9
[8 empty] | Remote-Condensing with Remote Compressor | 800 ≤ H < 4,000 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26
[8 empty] | Self Contained | H < 200 | 14.22 - 0.03*H | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22 | 14.22
[8 empty] | Self Contained | 200 ≤ H < 700 | 9.47 - 0.00624*H | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47 | 9.47
[8 empty] | Self Contained | 700 ≤ H < 4,000 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
[8 empty] | PY13 - PY16 | 2021-06-01
Efficient Machine - Batch Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Baseline energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 300 | 9.20-0.01134*H | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2
[8 empty] | Ice Making Head | 300 ≤ H < 800 | 6.49-0.0023*H | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49 | 6.49
[8 empty] | Ice Making Head | 800 ≤ H < 1,500 | 5.11-0.00058*H | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11
[8 empty] | Ice Making Head | 1,500 ≤ H < 4,000 | 4.24 | 4.24 | 4.24 | 4.24 | 4.24 | 4.24 | 4.24 | 4.24 | 4.24
[8 empty] | Remote-Condensing without Remote Compressor | 50 ≤ H < 988 | 7.17-0.00308*H | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14
[8 empty] | Remote-Condensing without Remote Compressor | 988 ≤ H < 4,000 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13
[8 empty] | Remote-Condensing with Remote Compressor | 50 ≤ H < 988 | 7.17-0.00308*H | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14
[8 empty] | Remote-Condensing with Remote Compressor | 988 ≤ H < 4,000 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13 | 4.13
[8 empty] | Self Contained | H < 110 | 12.57-0.0399*H | 12.57 | 12.57 | 12.57 | 12.57 | 12.57 | 12.57 | 12.57 | 12.57
[8 empty] | Self Contained | 110 ≤ H < 200 | 10.56-0.0215*H | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56
[8 empty] | Self Contained | 200 ≤ H < 4,000 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25
[8 empty] | PY13 - PY16 | 2021-06-01
Efficient Machine - Continuous Type
[8 empty] | Ice Machine Type | Ice Harvest Rate (H) (lbs/day) | Efficient energy use per 100 lbs of ice | Row 1 | Row 2 | Row 3 | Row 4 | Row 5 | Row 6 | Row 7 | Row 8
[8 empty] | Ice Making Head | H < 310 | 7.90-0.005409*H | 7.9 | 7.9 | 7.9 | 7.9 | 7.9 | 7.9 | 7.9 | 7.9
[8 empty] | Ice Making Head | 310 ≤ H < 820 | 7.08-0.002752*H | 7.08 | 7.08 | 7.08 | 7.08 | 7.08 | 7.08 | 7.08 | 7.08
[8 empty] | Ice Making Head | 820 ≤ H < 4,000 | 4.82 | 4.82 | 4.82 | 4.82 | 4.82 | 4.82 | 4.82 | 4.82 | 4.82
[8 empty] | Remote-Condensing without Remote Compressor | H < 800 | 7.76-0.00464*H | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76
[8 empty] | Remote-Condensing without Remote Compressor | 800 ≤ H < 4,000 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05
[8 empty] | Remote-Condensing with Remote Compressor | H < 800 | 7.76-0.00464*H | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76 | 7.76
[8 empty] | Remote-Condensing with Remote Compressor | 800 ≤ H < 4,000 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05
[8 empty] | Self Contained | H < 200 | 12.37-0.0261*H | 12.37 | 12.37 | 12.37 | 12.37 | 12.37 | 12.37 | 12.37 | 12.37
[8 empty] | Self Contained | 200 ≤ H < 700 | 8.24-0.005492*H | 8.24 | 8.24 | 8.24 | 8.24 | 8.24 | 8.24 | 8.24 | 8.24
[8 empty] | Self Contained | 700 ≤ H < 4,000 | 4.44 | 4.44 | 4.44 | 4.44 | 4.44 | 4.44 | 4.44 | 4.44 | 4.44
Visit Energy Star Website
In TRM, I think Batch and Contionuous EE are flipped
Note on K6: For self contained ice machines the minimum ice production rate must be greater than or equal to 50lbs/day to qualify. For all other machine types, the minimum production rate is 200lbs/day.

## Night Covers
[15 empty] | PA TRM 20201 | p 169
Night Covers for Refrigerated Display Cases
Return to Project Summary |  | Eligible projects include the installation of night covers on open reach-in refrigerated cases during unoccupied hours. Covers must be in use for at least 3 hours daily to be eligible for incentives.
Line | Measure | Installation Type | Equipment Cost (Excluding Labor) | New Equipment Manufacturer | New Equipment Model Number | Refrigerated Case Temperature | Width of Case Opening (ft) | Daily hours of operation covers are in use | Savings Factor | Total Demand Savings (no coincidence factor) | Demand Savings (kW) | Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies | Measure ID
Key |  | ReplType | MeasureCost | Manufacturer | Model | Temp | EquipmentSizeUnitQuantity | Hours |  | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
2 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
3 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
4 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
5 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
6 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
7 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
8 | Night Covers | [12 empty] | 0 | Yes | CI-CO-PR-IT-RE-000003-01-FEPA-CI
|  |  |  | Case Temperature | Savings Factor (kW/ft)
|  |  |  | Low Temp [-35°F to -5°F] | 0.03
|  |  |  | Medium Temp [0°F to 30°F] | 0.02
|  |  |  | High Temp [35°F to 55°F] | 0.01
|  |  |  | Unknown | 0.01
Incentive
|  |  |  | 10 | linear foot
Installation Type
Early Replacement
New Equipment
Measure Life
5
Coincidence Factor
0

## Strip Curtains
[15 empty] | PA TRM 2021 | p 166
Strip Curtains for Walk-in Coolers and Freezers
Return to Project Summary |  | Eligible strip curtains must be installed on walk-in coolers and freezers that have ineffective or no existing strip curtains in place. Strip curtains must be new, made of polyethylene, and be at least 0.06" thick. Low temperature curtains must be used for freezer applications. Eligible units must be in use at least 2.5 hours per day.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | Walk-in Type | Pre-existing Curtains | Walk-in Opening Area (ft2) | Total kW | Demand Savings (kW) | Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies | Measure ID
Key |  | ReplType | Manfuacturer | Model | WalkType |  | Quantity | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
2 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
3 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
4 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
5 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
6 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
7 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
8 | Strip Curtains | [12 empty] | CI-CO-PR-IT-RE-000005-01-FEPA-CI
|  |  | Walk-in Type | Pre-existing Curtains | Energy Savings (kWh/ft2) | Demand Savings (kWh/ft2) |  |  | Walk-in Type
|  |  | Grocery - Cooler |  | 123 | 0.016 |  |  | Grocery - Cooler
|  |  | Grocery - Freezer |  | 535 | 0.0659 |  |  | Grocery - Freezer
|  |  | Convenience Store - Cooler |  | 19 | 0.0025 |  |  | Convenience Store - Cooler
|  |  | Convenience Store - Freezer |  | 31 | 0.0038 |  |  | Convenience Store - Freezer
|  |  | Restaurant - Cooler |  | 24 | 0.0031 |  |  | Restaurant - Cooler
|  |  | Restaurant - Freezer |  | 129 | 0.0158 |  |  | Restaurant - Freezer
|  |  | Refrigerated Warehouse |  | 410 | 0.0532 |  |  | Refrigerated Warehouse
Incentive
[9 empty] | 2 | per ft2
Installation Type
Early Replacement
New Equipment
Measure Life
4
Coincidence Factor
1

## Anti-Sweat Heaters
[13 empty] | PA TRM 2021 | p 158
Anti-Sweat Heater Controls on Cooler and Freezer Case Doors
Return to Project Summary |  | Anti-sweat heater controls sense the humidity in the store outside reach-in, glass door cases and turn off anti-sweat heaters during periods of low humidity. Only the installation of new anti-sweat heater controls in cases with no existing controls are eligible for incentives.
Line | Measure | Installation Type | Equipment Cost (Excluding Labor) | New Equipment Manufacturer | New Equipment Model Number | Case Type | Number of Doors | Control Type | Total kW | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Total Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | ReplType | MeasureCost | Manufacturer | Model | Case | Quantity | Cont | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
2 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
3 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
4 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
5 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
6 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
7 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
8 | Anti-Sweat Heater Controls | [7 empty] | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-RE-000004-01-FEPA-CI
| Case Type | Variable | Value |  |  | Deemed Values | [5 empty] | Measure Life
| Cooler | kWDoor | 0.13 | Cooler |  | Cooler | Energy Impact kWh | Peak Demand Impact kW | Total kW | Coincidence Factor |  | 12
| Cooler | %On | 90.7% | Freezer |  | Unknown Control | 642 | 0.072 | 0.16364 | 0.44
| Cooler | % Control Unk | 45.6% |  |  | On/Off Control | 453 | 0.052 | 0.1625 | 0.32
| Cooler | % Control OnOff | 58.9% |  |  | Micropulse Control | 682 | 0.073 | 0.16222 | 0.45
| Cooler | % Control Micro | 42.8% |  |  | Freezer | Energy Impact kWh | Peak Demand Impact kW | Total kW | Coincidence Factor
| Cooler | WHF | 1.26 |  |  | Unknown Control | 770 | 0.086 | 0.19545 | 0.44 |  | Incentive/Door
| Freezer | kWDoor | 0.13 |  |  | On/Off Control | 543 | 0.062 | 0.19375 | 0.32 |  | 30
| Freezer | %On | 90.7% |  |  | Micropulse Control | 818 | 0.088 | 0.19556 | 0.45
| Freezer | % Control Unk | 45.6% | [8 empty] | Installation Type
| Freezer | % Control OnOff | 58.9% | [8 empty] | Early Replacement
| Freezer | % Control Micro | 42.8% | [8 empty] | New Equipment
| Freezer | WHF | 1.51

## Vending Controls
[14 empty] | PA TRM 20121 | p 206
Beverage and Snack Vending Machine Controls
Return to Project Summary |  | Eligible sensors must be installed on non-ENERGY STAR® qualified vending machines. Each control must be able to automatically turn off lighting when there is no occupancy, and must modulate the refrigeration system for peak performance.
Line | Measure | Installation Type | Equipment Cost (Excluding Labor) | New Equipment Manufacturer | New Equipment Model Number | Machine Type | Machine Wattage | Quantity | Total kW | Demand Savings (kW) | Energy Savings (kWh) | Total Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | ReplType | MeasureCost | Manufacturer | Model | MachType | MachWatt | Quantity | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
2 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
3 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
4 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
5 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
6 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
7 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
8 | Vending Machine Controls | [11 empty] | 0 | Yes | CI-CO-PR-IT-RE-000007-01-FEPA-CI
| Machine Type | ESF | Default Beverage Energy Savings (kWh) | Incentive |  |  | Installation Type
| Refrigerated Beverage Vending Machine | 0.46 | 1611.8 | 100 |  |  | Early Replacement
| Glass Front Refrigerated Cooler | 0.3 | 1208.9 | 100 |  |  | New Equipment
| Snack Case | 0.46 | 342.5 | 50
Measure Life
[7 empty] | 5 | Years
Coincidence Factor
0

## Vending Machines (hidden)
[13 empty] | ENERGY STAR 4/29/20 spec | DOE 2017
ENERGY STAR® Refrigerated Beverage Vending Machines
Return to Project Summary |  | ENERGY STAR® vending machines have high efficiency refrigeration and lighting systems. In addition, these machines have built-in controls that reduce lighting and refrigeration loads during unoccupied periods. Only new Energy Star® vending machines are eligible for incentives.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | Vending Machine Class | Refrigerated Volume of Vending Machine (ft3) | Quantity | kWhbase | kWhee | Demand Savings (kW) | Energy Savings (kWh) | Incentive
1 | ENERGY STAR® Vending Machine
2 | ENERGY STAR® Vending Machine
3 | ENERGY STAR® Vending Machine
4 | ENERGY STAR® Vending Machine
5 | ENERGY STAR® Vending Machine
6 | ENERGY STAR® Vending Machine
7 | ENERGY STAR® Vending Machine
8 | ENERGY STAR® Vending Machine
| Vending Machine Class | kWhbase | kWhee
| Class A | (0.052V + 2.43) x 365 | (0.0523V + 2.432) x 365
| Class B | (0.052V + 2.20) x 365 | (0.0657V + 2.844) x 365
Incentive
| 50 | Per machine
Installation Type
Early Replacement
New Installation
Measure Life
| 14 | Years
Coincidence Factor
0
Visit Energy Star Website
Note on G6: Class A - refrigerated bottled or canned beverage vending machine that is fully cooled, and is not a combination vending machine. Class B - refrigerated bottled or canned beverage vending machine not considered to be Class A, and is not a combination vending machine.

## Combination Ovens
[31 empty] | PA TRM 20201 |  | p 214
ENERGY STAR® Commercial Electric Combination Ovens
Return to Project Summary |  | New electric combination ovens must be ENERGY STAR®-certified to be eligible for incentives. New construction and replacement projects are eligible under this measure.
Line | Measure | Installation Type | Equipment Cost (Excluding labor) | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Number of Pans | Quantity | Number of Pans | LB | Idlebase, conv (kW) | Idlebase, steam (kW) | EFFbase, conv | EFFbase, steam | PCbase,conv | PCbase, steam | Idleee, conv (kW) | Idleee, steam (kW) | EFFee, conv | EFFee, steam | PCee,conv | PCee, steam | kWhbase,conv | kWhbase,steam | kWhee,conv | kWhee,steam | Total kW | Demand Savings (kW) | Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | ReplType | MeasureCost | Manufacturer | Model | energystar | NumPan | Quantity | [18 empty] | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
2 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
3 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
4 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
5 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
6 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
7 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
8 | Combination Ovens | [7 empty] | less than 15 | 200 | 1.32 | 5.26 | 72% | 49% | 79 | 126 | 0.4989 | 0.64 | 0.76 | 0.55 | 119 | 177 | 9702.5932 | 14584.2413 | 7970.6197 | 5357.6226 | [5 empty] | Yes | CI-CO-PR-IT-CA-000006-01-FEPA-CI
| Parameter | Number of Pans | Baseline Model |  | Energy Efficient Model
|  |  | Convection Mode | Steam Mode | Convection Mode | Steam Mode |  |  |  |  | HoursDAY | Days | EFOOD, conv | EFOOD,steam | PCT | CF |  |  | LB
| Idle (kW) | less than 15 | 1.32 | 5.26 | 0.08 x PANS + 0.4989 | 0.133 x PANS + 0.64 |  |  |  |  | 12 | 365 | 0.0732 | 0.0308 | 50% | 0.9 |  |  | less than 15 | 200
|  | 15 or greater | 2.28 | 8.71 | [14 empty] | 15 or greater | 250
| EFF | less than 15 | 72% | 49% | 76% | 55%
|  | 15 or greater | 72% | 49% | 76% | 55% |  |  |  |  | Incentive |  |  | Installation Type |  | Measure Life
| PC | less than 15 | 79 | 126 | 119 | 177 |  |  |  |  | 750 | Per oven |  | Early Replacement |  | 12 | Years
|  | 15 or greater | 166 | 295 | 201 | 349 | [7 empty] | New Equipment
Visit Energy Star Website

## Convection Ovens
[24 empty] | PA TRM 2021 | p 218
ENERGY STAR® Commercial Electric Convection Ovens
Return to Project Summary |  | ENERGY STAR®-certified convection ovens must be new. Used equipment is not eligible for incentives. New construction and replacement projects are eligible under this measure.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Equipment Cost (excluding labor) | Oven Size | Quantity | Replacement Type | Idle Base (kW) | Idle Eff. (kW) | EFF Base | EFF Eff. | PC Base | PC Eff. | CF | kWhbase | kWhee | Total kW | Demand Savings (kW) | Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies | Measure ID
Key |  | Install | Manufacturer | Model | energystar | MeasureCost | Size | Quantity | ReplType | [9 empty] | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
2 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
3 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
4 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
5 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
6 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
7 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
8 | Convection Ovens | [14 empty] | 0.9 | #VALUE! | #VALUE! |  |  |  |  | 0 | Yes | CI-CO-PR-IT-CA-000007-01-FEPA-CI
| Parameter | Half Size |  | Full Size
|  | Baseline Model | Energy Efficient Model | Baseline Model | Energy Efficient Model |  |  |  |  | HoursDAY | LB | EFOOD | Days | CF
| Idle (kW) | 1.03 | 1 | 2 | 1.6 |  |  |  |  | 12 | 100 | 0.0732 | 365 | 0.9
| EFF | 0.68 | 0.71 | 0.65 | 0.71
| PC | 45 | 50 | 90 | 90
Half Size
Full Size
| Incentive |  |  | Installation Type | Replacement Type
| 350 | Per oven |  | Early Replacement | Early Replacement
|  |  |  | New Installation | New Equipment
Measure Life
| 12 | Years
Visit Energy Star Website

## Steam Cookers
[32 empty] | PA TRM 2021 | p 210
ENERGY STAR® Commercial Electric Steam Cookers
Return to Project Summary |  | Eligible steam cookers must be ENERGY STAR®-certified and have a cooking efficiency of at least 50%. Only new, electric steam cookers are eligible for incentives.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | Number of Pans | ENERGY STAR ID | Equipment Cost (excluding Labor) | Quantity | Replacement Type | Lbsfood | EnergytoFood | Effee | Effb | Poweridle-b | Poweridle-ee | %Hoursconsteam | Hoursop | Hourspre | CAPYb | CAPYee | Hours | CF | Measure ID | Total kW | Demand Reductions kW | ΔkWh Cooking | Daily kWh base | Daily kWh EE | ΔkWh idle | Energy Savings kWh | Incentive | Uncapped Incentive
Key |  | Install | Manufacturer | Model | NumPan | energystar | MeasureCost | Quantity | ReplType | [13 empty] | ExternalID | NcpkW | CoinckW |  |  |  |  | kWh | CapIncentive | UncapIncentive
1 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
2 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
3 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
4 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
5 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
6 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
7 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
8 | Electric Steam Cooker | [9 empty] | 0.0308 |  |  |  |  | 40% | 12 | 0.25 |  |  | 4380 | 0.9 | [9 empty] | 0
|  | Baseline Model |  |  |  | Efficient Model |  |  |  | Savings
| Number of Pans | Poweridle (kW) | CAPY (lb/h) | Lbsfood | Effb | Poweridle (kW) | CAPY (lb/h) | Lbsfood | Effee | ∆kW | ∆kWh | Incentive | SDX Reporting Name
| 3 | 1 | 23.3 | 100 | 30% | 0.4 | 16.7 | 100 | 50% | 1.95 | 9504 | 125 | CI-CO-PR-IT-CA-000001-01-FEPA-CI
| 4 | 1.325 | 23.3 | 128 | 30% | 0.53 | 16.7 | 128 | 50% | 2.59 | 12619 | 185 | CI-CO-PR-IT-CA-000001-01-FEPA-CI
| 5 | 1.675 | 23.3 | 160 | 30% | 0.67 | 16.7 | 160 | 50% | 3.25 | 15801 | 250 | CI-CO-PR-IT-CA-000001-01-FEPA-CI
| 6 | 2 | 23.3 | 192 | 30% | 0.8 | 16.7 | 192 | 50% | 3.89 | 18497 | 300 | CI-CO-PR-IT-CA-000001-01-FEPA-CI
| Installation Type | Replacement Type |  | Measure Life |  |  |  | CF
| Early Replacement | Early Replacement |  | 12 | Years |  |  | 0.9
| New Installation | New Equipment
Visit Energy Star Website

## Fryers
[26 empty] | PA TRM 2021 | p 221
ENERGY STAR® Commercial Electric Fat Fryers
F |  | ENERGY STAR® fryers have advanced heat exchanger design and fry pot insulation to shorten cook times and reduce standby heat losses. Only new (unused), electric, ENERGY STAR-certified fryers are eligible for incentives.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Equipment Cost (Excluding Labor) | Vat Type | Replacement Type | HOURS_DAY | PRE_TIME (minutes/day) | EFOOD (kWh/lb) | LB (lb/day) | DAYS | CF | Hours | Quantity | kWHbase | kWHeff | Energy Savings kWh | Total kW | Demand Reductions kW | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | Install | Manufacturer | Model | energystar | MeasureCost | Vat | ReplType | [7 empty] | Quantity |  |  |  | NcpkW |  | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
2 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
3 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
4 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
5 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
6 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
7 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
8 | Electric Fryer | [8 empty] | 15 | 0.167 | 150 | 365 | 0.9 | [10 empty] | 0 | Yes | CI-CO-PR-IT-CA-000002-01-FEPA-CI
| Standard Vat | [5 empty] | Large Vat
| Metric | Baseline Model | Energy Efficient Model |  |  |  | Metric | Baseline Model | Energy Efficient Model
| Hours per Day | 16 | 16 |  |  |  | Hours per Day | 12 | 12
| IDLE (kW) | 1.05 | 0.8 |  |  |  | IDLE (kW) | 1.35 | 1.1
| EFF | 75% | 83% |  |  |  | EFF | 70% | 80%
| PC (lb/hr) | 65 | 70 |  |  |  | PC (lb/hr) | 100 | 110
Incentive
| 150 | Per fryer
| Installation Type | Replacement Type |  | Vat Type |  |  | CF
| Early Replacement | Early Replacement |  | Standard Vat |  |  | 0.9
| New Installation | New Equipment |  | Large Vat
Measure Life
| 12 | Years
Visit Energy Star Website

## Griddles
[26 empty] | PA TRM 2021 | p 231
ENERGY STAR® Commercial Electric Griddles
Return to Project Summary |  | Eligible equipment must be ENERGY STAR®-certified. Only new (unused) equipment is eligible for incentives.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Equipment Cost (excluding Labor) | Cooking Surface Size (ft2) | Replacement Type | HOURS_DAY | DAYS | PRE_TIME (minutes/day) | PRE_NUMBER (preheats/day) | EFOOD (kWh/lb) | LB (lb/day) | CF | Hours | Quantity | kWHbase | kWHeff | Energy Savings (ΔkWh) | Demand Reductions (kW) | Total kW | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | Install | Manufacturer | Model | energystar | MeasureCost | Cook | ReplType | [8 empty] | Quantity |  |  |  |  | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
2 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
3 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
4 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
5 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
6 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
7 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
8 | Griddle | [7 empty] | 12 | 365 | 15 | 1 | 0.139 | 100 | 0.9 | 4380 | [10 empty] | Yes | CI-CO-PR-IT-CA-000004-01-FEPA-CI
| Incentive |  |  | Metric | Baseline Model | Energy Efficient Model
| 150 | Per Griddle |  | IDLE (kW/ft2) | 0.4 | 0.32
|  |  |  | EFF | 65% | 70%
|  |  |  | PC (lb/hr) | 5.83 | 6.67
| Installation Type | Replacement Type |  | PHR (kW/ft2) | 2.667 | 1.333
| Early Replacement | Early Replacement
| New Installation | New Equipment |  | CF
0.9
Measure Life
| 12 | Years
Visit Energy Star Website

## Hot Food Holding Cabinets
[20 empty] | PA TRM 2021 | p 224
ENERGY STAR® Commercial Hot Food Holding Cabinets
Return to Project Summary |  | ENERGY STAR® hot food holding cabinets have better designs with better insulation to reduce heat loss and maintain more uniform food temperature. Only new (unused) equipment is eligible for incentives.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | ENERGY STAR ID | Equipment Cost (excluding Labor) | Cabinet Volume (ft3) | Quantity | Replacement Type | Cabinet Size Lookup | FE Reporting Name | Hours | CF | IDLEbase | IDLEeff | Total kW | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies?
Key |  | Install | Manufacturer | Model | energystar | MeasureCost | CabVol | Qauntity | ReplType |  | ExternalID |  |  |  |  | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies
1 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
2 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
3 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
4 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
5 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
6 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
7 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
8 | Hot Food Holding Cabinet | [9 empty] | #N/A | 5475 | 0.9 | [6 empty] | 0 | Yes
| Cabinet Size | IDLEbase | IDLEeff | FE Reporting Name
| Full Size | 40X Volume | 3.8 x Volume + 203.5 | CI-CO-PR-IT-CA-000005-01-FEPA-CI
| Three-Quarter Size | 40X Volume | 2.0 x Volume + 254.0 | CI-CO-PR-IT-CA-000005-01-FEPA-CI
| Half Size | 40X Volume | 21.5 x Volume | CI-CO-PR-IT-CA-000005-01-FEPA-CI
| Measure | Incentive
| Full Size | 250 | Per unit
| Three-Quarter Size | 200 | Per unit
| Half Size | 150 | Per unit
| Installation Type | Replacement Type | Measure Life
| Early Replacement | Early Replacement | 12 | Years
| New Installation | New Equipment
Visit Energy Star Website

## Pre Rinse Sprayers
[19 empty] | PA TRM 2021 | p 138
Pre-Rinse Spray Nozzels
Return to Project Summary |  | New pre-rinse spray nozzles must have an on/off squeeze lever, use less than 1.6 gallons per minute, and have a cleaning performance of at least 26 seconds to qualify. Only spray nozzles associated with electric water heating qualify for this measure.
Line | Measure | Installation Type | New Equipment Manufacturer | New Equipment Model Number | Equipment Cost (excluding Labor) | Application | Quantity | Replacement Type | Measure Life | Fbase | Fee | Ubase | Uee | ETDF | Total kW | Total Demand Reductions (kW) | Total Energy Savings (kWh) | Incentive | Uncapped Incentive | Measure Qualifies? | Measure ID
Key |  | Install | Manufacturer | Model | MeasureCost | App | Quantity | ReplType | [6 empty] | NcpkW | CoinckW | kWh | CapIncentive | UncapIncentive | MeasureQualifies | ExternalID
1 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
2 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
3 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
4 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
5 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
6 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
7 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
8 | Pre Rinse Spray Nozzles | [7 empty] | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 |  | 0 | No | CI-CO-PR-IT-CA-000011-01-FEPA-CI
[7 empty] | 0 | [8 empty] | 0 | 0 | 0
| Measure | Incentive (per spray nozzle) | Installation Type | Replacement Type |  |  | Measure Life |  |  | #N/A | #N/A | 75.5
| Pre Rinse Sprayer | 35 | Early Replacement | Early Replacement |  |  | 8
|  |  | New Installation | New Equipment
| Table 3-87 | Commercial Prototype Building | ETDF
|  | Quick-service Restaurant | 0.000186
|  | Full-service Restaurant | 0.0001189
|  | Standalone Retail (Grocery) | 0.000237
|  | Default - Unknown | 0.000259
|  |  |  | Table 3-89 | Program: Application | Commercial Prototype Building | Flow Rate (GPM) |  | Usage Duration (min/day) |  | ETDF |  |  |  | UEF | Th | TC
| Validation Options | Nice Name |  |  |  |  | Fbase | Fee | Ubase | Uee |  |  |  |  | 0.9 | 127.5 | 52
| Grocery | Medium Sized Casual Dining Restaurants |  | Early Replacement | Full Service Restaurant | Full-service Restaurant | 2.25 | 1.12 | 32.4 | 43.8 | 0.0001189
| Small Quick Service Restaurants | Grocery |  | Early Replacement | Grocery or Unknown | Standalone Retail (Grocery) | 2.15 | 1.12 | 4.8 | 6 | 0.000237
| Medium Sized Casual Dining Restaurants | Small Quick Service Restaurants |  | New Installation | Limited Service (Fast Food) Restaurant | Quick-service Restaurant | 1.6 | 1.12 | 32.4 | 43.8 | 0.000186
| Large Institutional Establishments with Cafeteria | Medium Sized Casual Dining Restaurants |  | New Installation | Full Service Restaurant | Full-service Restaurant | 1.6 | 1.12 | 32.4 | 43.8 | 0.0001189
|  | Grocery |  | New Installation | Other or Unknown | Default - Unknown | 1.6 | 1.12 | 26.4 | 36 | 0.000259
|  | Small Quick Service Restaurants |  | Early Replacement | Limited Service (Fast Food) Restaurant | Quick-service Restaurant | 2.25 | 1.12 | 32.4 | 43.8 | 0.000186
|  | Large Institutional Establishments with Cafeteria |  | Early Replacement | Full Service Restaurant | Full-service Restaurant | 2.25 | 1.12 | 32.4 | 43.8 | 0.0001189
|  | Large Institutional Establishments with Cafeteria |  | New Installation | Full Service Restaurant | Full-service Restaurant | 1.6 | 1.12 | 32.4 | 43.8 | 0.0001189

## Data Export (hidden)
Line Item | Project Measure Name | Project ID | Program ID | Project Name | Account ID | Measure ID | Retrofit ID | Calculator Version | Install Type | Make | Model | Measure Quantity | Total Incentive | Demand Savings (kW) | Demand Savings PJM (kW) | Energy Savings (kWh) | Coincidence Factor | Measure Life | Volume (ft3) | Cooking Surface Size | Equipment Type | Ice Production Capacity (lbs/day) | Case Opening Width (ft) | Operating Hours Per Day | Pre Existing Curtains | Case Opening Area (ft2) | Machine Can Capacity | Vending Machine Class | Number of Pans | Oven Size